## Slide 1
A Mobile Sensor Network to Map CO2 in Urban Environments
Joey Lee1, Andreas Christen1, Zoran Nesic2, & Rick Ketler1
Department of Geography1
Department of Land and Food Systems2
The University of British Columbia
9th International Conference on Urban Climate
Toulouse, France
July 24, 2015

## Slide 2
Overview
We present a pilot study to show the potential for a mobile sensor network to monitor greenhouse gases (GHGs) in cities.

## Slide 3
Can we map greenhouse gases and other pollutants, specifically CO2, at high spatio-temporal resolution across the city with a network of mobile sensors?
Research Question

## Slide 4
Motivations: Why Mobile Sensing?

## Slide 5
Motivations: Why Mobile Sensing?
Cities are a major source of GHGs into the atmosphere (Estimated 70%, Rosenzweig 2010).

## Slide 6
Motivations: Why Mobile Sensing?
Cities are a major source of GHGs into the atmosphere (Estimated 70%, Rosenzweig 2010).
  Currently there are a lack of tools to monitor GHGs in cities; existing tools are limited by funding, time, expertise, spatial & temporal resolution.

## Slide 7
Motivations: Why Mobile Sensing?
Cities are a major source of GHGs into the atmosphere (Estimated 70%, Rosenzweig 2010).
  Currently there are a lack of tools to monitor GHGs in cities; existing tools are limited by funding, time, expertise, spatial & temporal resolution.
  There’s a need to validate models & remote sensing methods.

## Slide 8
Motivations: Why Mobile Sensing?
Cities are a major source of GHGs into the atmosphere (Estimated 70%, Rosenzweig 2010).
  Currently there are a lack of tools to monitor GHGs in cities; existing tools are limited by funding, time, expertise, spatial & temporal resolution.
  There’s a need to validate models & remote sensing methods.
Opportunities exist to use existing infrastructure such public and private vehicles and bikes to sample intensively & extensively.

## Slide 9: The Mobile Sensor System

## Slide 10
System Components
1. IRGA – Licor LI-820 (Licor Inc, Lincoln, NB, USA), 2. Adafruit GPS (Adafruit Industries, Manhattan, NY, USA), 3. Arduino Mega (Arduino CC, Ivrea, Italy) . *Not Shown: OneWire Digital Temperature Thermometer (Maxim Integrated One Wire Digital Temperature Sensor - DS18B20, San Jose, CA, USA )

## Slide 11
System Specifications

## Slide 12
Runs on 12 V Power supply
System Specifications

## Slide 13
Runs on 12 V Power supply
Measures CO2 mixing ratios (ppm), geoposition and speed, and air temperature at 1-second intervals.
System Specifications

## Slide 14
Runs on 12 V Power supply
Measures CO2 mixing ratios (ppm), geoposition and speed, and air temperature at 1-second intervals.
Size: 35.8 cm x 27.8 cm x 11.8 cm, weight: 2.6 kg.
System Specifications

## Slide 15
Runs on 12 V Power supply
Measures CO2 mixing ratios (ppm), geoposition and speed, and air temperature at 1-second intervals.
Size: 35.8 cm x 27.8 cm x 11.8 cm, weight: 2.6 kg.
Precision: +/- 1.1 ppm
System Specifications

## Slide 16
Runs on 12 V Power supply
Measures CO2 mixing ratios (ppm), geoposition and speed, and air temperature at 1-second intervals.
Size: 35.8 cm x 27.8 cm x 11.8 cm, weight: 2.6 kg.
Precision: +/- 1.1 ppm
Accuracy: +/- 3 ppm, with maximum drift of +/- 4 ppm over seven days.
System Specifications

## Slide 17
Runs on 12 V Power supply
Measures CO2 mixing ratios (ppm), geoposition and speed, and air temperature at 1-second intervals.
Size: 35.8 cm x 27.8 cm x 11.8 cm, weight: 2.6 kg.
Precision: +/- 1.1 ppm
Accuracy: +/- 3 ppm, with maximum drift of +/- 4 ppm over seven days.
Total delayed response time: 13 s with 3 m sample tube at flow rate of 700 cc/min.
System Specifications

## Slide 18
Built & Tested: 5 mobile systems
Image: In total 5 sensors were built – the image shows the full setup including the sample inlet tube and the temperature probes.

## Slide 19: Pilot Study – Methods: Measurement Campaign

## Slide 20
Overview: Measurement Campaign
5 transects simultaneously – each approx. 70km
Transects planned to cover (almost) all navigable roads.
Vehicle & Bike Based
Image: The image shows 5 planned transect routes for the measurement campaign

## Slide 21
Study Area: 12.7 km2 transect, Vancouver, BC
Image: 12 km2 transect study area in Vancouver, BC. The transect is 1km x 12.7km covering the major land cover types in the city.

## Slide 22
Study Area: Local Climate Zones
Image: The images above show typical urban features characteristic for each neighborhood in the study area and were taken with a dashboard camera during the measurement campaign.

## Slide 23
Sampling Methods: Deployment Transects
Image: The image shows 5 planned transect routes for the measurement campaign. Goal: to cover (almost) all navigable roads (and some trails) along the transect in 3.5 hours.

## Slide 24
Temperature: 20° - 22° C.
Weak winds: 2.5 m/s at 30m height above city.
Sunny, cloudless - late spring, early summer, day.
Measurement period: 10:30 – 14:00, May 25th, 2015
* data measured at Urban Climate Tower "Vancouver Sunset" (SE section of Transect)
Study Area: Meteorology

## Slide 25
Sampling Methods: Vehicle Installation
Image A: Shows the temperature probe covered by PVC tube and reflective tape and sample inlet tube at 2m height - ±0.5°C Accuracy from -10°C to +85°C ; Image B: Shows sensor installation in vehicle.

## Slide 26
Sampling Methods: Bike Installation
Image: Shows the installation of the sensor on a bike rack – the inlet is at approximately 2m height.

## Slide 27: Pilot Study – Methods: Emissions Inventory & Mapping

## Slide 28
Image: The traffic emissions inventory derived from Vancouver’s traffic count data and calculated per grid cell using fuel consumption and emissions factors.
Traffic Emissions Inventory

## Slide 29
Building Emissions Inventory
Image: Building emissions inventory generated by combining factors of building morphology, urban context, and population density derived from LiDAR, building topology, and census data.

## Slide 30
Calculated Emissions: Aerodynamic
Resistance Approach
Image: Illustration of aerodynamic resistance approach used to calculate the CO2 emissions map.

## Slide 31: Pilot Study - Mapping CO2 Emissions: Results

## Slide 32
Raw Data: Visualized in Google Earth

## Slide 33
Transect: Deployment Images

## Slide 34
Observed Mixing Ratios: Average & Median
per 100m grid cell by neighborhood

## Slide 35
Observed Mixing Ratios: Average CO2 & Skewness
per 100m Grid Cell

## Slide 36
CO2 Mixing Ratios Vs. Traffic Emissions Inventory

## Slide 37
CO2 Mixing Ratios Vs. Total Emissions Inventory

## Slide 38
Calculated CO2 emissions vs. Traffic Emissions Inventory

## Slide 39
Calculated CO2 emissions vs. Building Emissions Inventory

## Slide 40
Calculated CO2 emissions vs. Total Emissions Inventory

## Slide 41
Calculated CO2 Emissions over- and -under- estimation areas.

## Slide 42
Conclusions & Future Directions

## Slide 43
A mobile CO2 sensing system was developed using opensource components.
Conclusions & Future Directions

## Slide 44
A mobile CO2 sensing system was developed using opensource components.
The system was tested in Vancouver and evaluated against traffic and building emissions inventories.
Conclusions & Future Directions

## Slide 45
A mobile CO2 sensing system was developed using opensource components.
The system was tested in Vancouver and evaluated against traffic and building emissions inventories.
The study shows the potential for pervasive mobile sensing in GHG and pollutant monitoring in cities.
Conclusions & Future Directions

## Slide 46
A mobile CO2 sensing system was developed using opensource components.
The system was tested in Vancouver and evaluated against traffic and building emissions inventories.
The study shows the potential for pervasive mobile sensing in GHG and pollutant monitoring in cities.
Currently exploring visualization & feedback opportunities for planning and open science.
Conclusions & Future Directions

## Slide 47
A mobile CO2 sensing system was developed using opensource components.
The system was tested in Vancouver and evaluated against traffic and building emissions inventories.
The study shows the potential for pervasive mobile sensing in GHG and pollutant monitoring in cities.
Currently exploring visualization & feedback opportunities for planning and open science.
Collaboration potential with local mobility providers for long term & spatially extensive/intensive monitoring
Conclusions & Future Directions

## Slide 48
Conclusions & Future Directions

## Slide 49
Mobile CO2 sensing shows potential to map emissions.
Conclusions & Future Directions

## Slide 50
Mobile CO2 sensing shows potential to map emissions.
Potential applications for pollutant mapping.
Conclusions & Future Directions

## Slide 51
Mobile CO2 sensing shows potential to map emissions.
Potential applications for pollutant mapping.
Visualization & feedback opportunities in progress.
Conclusions & Future Directions

## Slide 52
Mobile CO2 sensing shows potential to map emissions.
Potential applications for pollutant mapping.
Visualization & feedback opportunities in progress.
Collaboration potential with local mobility providers for long term & spatially extensive/intensive monitoring
Conclusions & Future Directions

## Slide 53
Recap

## Slide 54
A Mobile CO2 sensing system was developed using opensource components.
Recap

## Slide 55
A Mobile CO2 sensing system was developed using opensource components.
The system was tested in Vancouver and evaluated against traffic and building emissions inventories.
Recap

## Slide 56
A Mobile CO2 sensing system was developed using opensource components.
The system was tested in Vancouver and evaluated against traffic and building emissions inventories.
The study shows the potential for pervasive mobile sensing in GHG and pollutant monitoring in cities.
Recap

## Slide 57
A Mobile CO2 sensing system was developed using opensource components.
The system was tested in Vancouver and evaluated against traffic and building emissions inventories.
The study shows the potential for pervasive mobile sensing in GHG and pollutant monitoring in cities.
Future opportunities exist for long term monitoring and to provide feedback through visualization
Recap

## Slide 58
NSERC Discovery Grant
NSERC CREATE - Terrestrial Ecosystems Research and World Wide Education & Broadcast Program (TerreWEB).
UBC Geography Department
Benedikt Groß, 47Nord GmBH, & Moovel Labs
Measurement Campaign Drivers: Alex McMahon, Andreas Christen, Mark Richardson, & Thea Rodgers.
ICUC & IAUC
Data: OpenStreetMap.org, Vancouver Open Data, EPiCC Project, UBC Micrometeorology
Tools: Python, R, QGIS, GDAL/OGR, Processing
Acknowledgements & Funding
References
Van der Laan, "Scaling Urban Energy Use and Greenhouse Gas Emissions through LiDAR", MSc Thesis, 2011.
Rosenzweig, C., Solecki, W., and Hammer, S. A. (2010). Cities lead the way inclimate-change action. Nature, pages 1–3.

## Slide 59
Special thanks to Andreas, Zoran, and Rick for countless hours dedicated to the project.

## Slide 60
The slides & links can be found on github:
joeyklee.github.io/presentations/ICUC-JLEE-2015

## Slide 61
Thanks!
Questions? Comments?
Many thanks to ICUC organizers and community.